## Sheet1
| Preparing stock solutions |  |  |  |  | Serial dilution | [6 empty] | Evaluation sample
[8 empty] | 200 | µL of A and |  | 800 | µL of DCM |  | mixture of all analytes
[6 empty] | Labels | JR-15-5 | JR-15-6 | JR-15-7 | JR-15-8 | JR-15-9 | JR-15-10 |  | JR16-1 | JR16-2 | JR16-3
|  | weight of the analyte | DCM | Conc. | Labels |  | mixture A | mixture B | mixture C | mixture D | mixture E | mixture F
|  | mg | mL | mg/mL |  |  | µL | µg/mL | µg/mL | µg/mL | µg/mL | µg/mL | µL | µg/mL
| Toluene | 74.1 | 10 | 7.41 | JR-15-1 |  | 25 | 185.25 | 37.05 | 7.41 | 1.482 | 0.2964 | 10 | 92.625
| o-Xylene | 20.6 | 10 | 2.06 | JR-15-2 |  | 100 | 206 | 41.2 | 8.24 | 1.648 | 0.3296 | 10 | 25.75
| Vanillic Acid | 95.7 | 25 | 3.828 | JR-15-3 |  | 150 | 574.2 | 114.84 | 22.968 | 4.5936 | 0.91872 | 50 | 239.25
[6 empty] | DCM | JR-15-5: 725 | 730
[6 empty] | Total volume (mL) | [6 empty] | 0.8 | bar: JR-15-5
[6 empty] | to all solutions (800 µL) the same amount of IS added | [6 empty] | add 100 µL of IS
IS | o-Terphenyl | 51.5 | 50 | 1.03 | JR-15-4 |  | JR-15-5: 100; JR-15-6: 114.4444
GC sequence
calibration should be performed from low to high concentration
|  | testmix | 3x | routine check of system
blank
|  | calibration | (low to high standards)
blank
|  | samples: | JR16-1a | injection of sample 1
|  |  | JR16-1b | injection of sample 1
|  |  | JR16-1c | injection of sample 1
|  |  | JR16-2 | injection of sample 2
|  |  | JR16-3 | injection of sample 3
blank
calibration
|  | testmix | 3x | routine check of system