## Repeating unit
[6 empty] | mass of electron | 0.000549
| Mass | Repeating Unit | Peaks | Mass | Mass/2 | Compound | Formula | n | C | H | D | N | O | P | S | Cl | F | Br | Si | Na | K | W | Sn | I
| Error (ppm) |  | Recorded | Calculated |  |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 18.9984 | 78.9183 | 27.9769 | 22.9898 | 39.0983 | 183.951 | 119.9022 | 126.9045
example | -0.33504 | 44.0262 | 344.2245 | 44.0262 |  | PEG |  | C: 2; H: 4; O: 1
example | -20.7774 | 44.0253 | 388.2507 | 44.0262 |  | PEG |  | C: 2; H: 4; O: 1
example | -13.9633 | 44.0256 | 432.276 | 44.0262 |  | PEG |  | C: 2; H: 4; O: 1
example | -7.1492 | 44.0259 | 476.3016 | 44.0262 |  | PEG |  | C: 2; H: 4; O: 1
example |  |  | 520.3275 | 44.0262 |  | PEG |  | C: 2; H: 4; O: 1
| -2.4389 | 22.013 | 687.4281 | 44.0262 | 22.0131 |  |  | C: 2; H: 4; O: 1
| 2.1039 | 22.0132 | 709.4411 | 44.0262 | 22.0131 |  |  | C: 2; H: 4; O: 1
| -279.5465 | 22.0008 | 731.4543 | 44.0262 | 22.0131 |  |  | C: 2; H: 4; O: 1
|  |  | 753.4551 | 0
0
0
| 15.1827 | 156.1174 | 650.3574 | 156.115 |  |  |  | C: 9; H: 16; O: 2
| -2.1123 | 156.1147 | 806.4748 | 156.115
| -64.2459 | 156.105 | 962.5895 | 156.115
|  |  | 1118.6945 | 156.115
| 37.3288 | 244.1038 | 650.3574 | 244.0947 |  |  |  | C: 11; H: 16; O: 6
| 80.7545 | 244.1144 | 894.4612 | 244.0947
1138.5756
| 35.2804 | 244.1033 | 806.4748 | 244.0947
1050.5781
Note on J4: Alena Kubatova: provide current number of elements for expected repeating untis
Note on B6: Alena Kubatova: Drag down all formulas to determine mass accuracy error
Note on D6: Alena Kubatova: Record in column C, M/z values for peaks belonging to the same polymer

## Sheet1
engroup
x |  | y |  | Z
1 | 156.115 | 1 | 244.0947 | 94.0327 | 494.2424 | 650.3574
2 | 156.115 | 1 | 244.0947 | 94.0327 | 650.3574 | 806.4748 | 2.2382e-06
962.5895
1118.6945
0
0
| 250.1477 |  |  |  |  | 0
| 338.1273 |  |  |  |  | 0
650.3574
894.4612
1138.5756
806.4748
1050.5781

## Mw,Mn,Mz
Determination of Mn, Mw, Mz |  |  |  | Fill in green fields
Analyte:
Data file:
Mass | Abund | Ni*Mi | Ni*Mi2 | Ni*Mi3 |  |  | Manufacture:
replace these fields by |  | #VALUE! | #VALUE! | #VALUE! | Mn= | #VALUE! | Mn= | provided by the supplier
data from MassHunter |  |  |  |  | Mw= | #VALUE!
[5 empty] | Mz= | #VALUE!
Mass spectrum Before deconv
After
Note on C5: Alena Kubatova: once you get 1st row of calculations ( C5:E5) highglight them and draw down or double click in the corner of these higlighted cells to get calculation for all rows
Note on G11: paste the Mass spectrum

## M calc+
|  | 2 | mass of electron | 0.000549
Mass | Mass | [M+2H]2+ | [M+H]+ | Mass | Compound | Description | Formula | n | C | H | D | N | O | P | S | Cl | F | Br | Si | Na | K | W | Sn | I
Error (ppm) | Measured | Calculated | Calculated | Calculated |  |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 18.9984 | 78.9183 | 27.9769 | 22.9898 | 39.0983 | 183.951 | 119.9022 | 126.9045
0.070219 | 285.0208 |  | 285.0207 | 284.0135 | Sulfachloropyridazine |  |  | C: 10; H: 9; N: 4; O: 2; S: 1; Cl: 1
2443446.1399 | 155.0704 | 23.0204 | 45.0335 | 44.0262 | PEG | polythethylene glycol | C2nH4n+2On+1 | n: 1; C: 2; H: 4; O: 1
1031866.1388 | 180.9574 | 45.0335 | 89.0597 | 88.0524 | PEG |  |  | n: 2; C: 4; H: 8; O: 2
-1000000 |  | 78.5415 | 156.0757 | 155.0684 |  |  |  | n: 3; C: 6; H: 12; O: 3; Na: 1
-1000000 |  | 89.0597 | 177.1121 | 176.1049 |  |  |  | n: 4; C: 8; H: 16; O: 4
-1000000 |  | 111.0728 | 221.1383 | 220.1311 |  |  |  | n: 5; C: 10; H: 20; O: 5
|  | 133.0859 | 265.1646 | 264.1573 |  |  |  | n: 6; C: 12; H: 24; O: 6
|  | 155.099 | 309.1908 | 308.1835 |  |  |  | n: 7; C: 14; H: 28; O: 7
|  | 177.1121 | 353.217 | 352.2097 |  |  |  | n: 8; C: 16; H: 32; O: 8
|  | 199.1252 | 397.2432 | 396.2359 |  |  |  | n: 9; C: 18; H: 36; O: 9
|  | 221.1383 | 441.2694 | 440.2621 |  |  |  | n: 10; C: 20; H: 40; O: 10
|  | 243.1515 | 485.2956 | 484.2884 |  |  |  | n: 11; C: 22; H: 44; O: 11
|  | 265.1646 | 529.3219 | 528.3146 |  |  |  | n: 12; C: 24; H: 48; O: 12
|  | 287.1777 | 573.3481 | 572.3408 |  |  |  | n: 13; C: 26; H: 52; O: 13
|  | 309.1908 | 617.3743 | 616.367 |  |  |  | n: 14; C: 28; H: 56; O: 14
|  | 331.2039 | 661.4005 | 660.3932 |  |  |  | n: 15; C: 30; H: 60; O: 15
|  | 353.217 | 705.4267 | 704.4194 |  |  |  | n: 16; C: 32; H: 64; O: 16
|  | 375.2301 | 749.4529 | 748.4457 |  |  |  | n: 17; C: 34; H: 68; O: 17
|  | 397.2432 | 793.4791 | 792.4719 |  |  |  | n: 18; C: 36; H: 72; O: 18
|  | 419.2563 | 837.5054 | 836.4981 |  |  |  | n: 19; C: 38; H: 76; O: 19
|  | 441.2694 | 881.5316 | 880.5243 |  |  |  | n: 20; C: 40; H: 80; O: 20
|  | 463.2825 | 925.5578 | 924.5505 |  |  |  | n: 21; C: 42; H: 84; O: 21
|  | 485.2956 | 969.584 | 968.5767 |  |  |  | n: 22; C: 44; H: 88; O: 22
|  | 507.3087 | 1013.6102 | 1012.6029 |  |  |  | n: 23; C: 46; H: 92; O: 23
|  | 529.3219 | 1057.6364 | 1056.6292 |  |  |  | n: 24; C: 48; H: 96; O: 24
|  | 551.335 | 1101.6626 | 1100.6554 |  |  |  | n: 25; C: 50; H: 100; O: 25
|  | 573.3481 | 1145.6889 | 1144.6816 |  |  |  | n: 26; C: 52; H: 104; O: 26
|  | 595.3612 | 1189.7151 | 1188.7078 |  |  |  | n: 27; C: 54; H: 108; O: 27
|  | 617.3743 | 1233.7413 | 1232.734 |  |  |  | n: 28; C: 56; H: 112; O: 28
|  | 639.3874 | 1277.7675 | 1276.7602 |  |  |  | n: 29; C: 58; H: 116; O: 29
|  | 661.4005 | 1321.7937 | 1320.7864 |  |  |  | n: 30; C: 60; H: 120; O: 30
|  | 683.4136 | 1365.8199 | 1364.8127 |  |  |  | n: 31; C: 62; H: 124; O: 31
|  | 705.4267 | 1409.8461 | 1408.8389 |  |  |  | n: 32; C: 64; H: 128; O: 32
|  | 727.4398 | 1453.8724 | 1452.8651 |  |  |  | n: 33; C: 66; H: 132; O: 33
|  | #VALUE! | #VALUE! | #VALUE! |  |  |  | n: 34; C: 68; O: 34
|  | 771.466 | 1541.9248 | 1540.9175 |  |  |  | n: 35; C: 70; H: 140; O: 35
|  | 793.4791 | 1585.951 | 1584.9437 |  |  |  | n: 36; C: 72; H: 144; O: 36
|  | 815.4922 | 1629.9772 | 1628.9699 |  |  |  | n: 37; C: 74; H: 148; O: 37
|  | 837.5054 | 1674.0034 | 1672.9962 |  |  |  | n: 38; C: 76; H: 152; O: 38
|  | 859.5185 | 1718.0297 | 1717.0224 |  |  |  | n: 39; C: 78; H: 156; O: 39
|  | 881.5316 | 1762.0559 | 1761.0486 |  |  |  | n: 40; C: 80; H: 160; O: 40
|  | 903.5447 | 1806.0821 | 1805.0748 |  |  |  | n: 41; C: 82; H: 164; O: 41
|  | 925.5578 | 1850.1083 | 1849.101 |  |  |  | n: 42; C: 84; H: 168; O: 42
|  | 947.5709 | 1894.1345 | 1893.1272 |  |  |  | n: 43; C: 86; H: 172; O: 43

## M calc -
|  | mass of electron | 0.000549
Mass | Mass | [M-H]- | Mass | Compound | pKA1 | PKA2 | C | H | D | N | O | P | S | Cl | F | Br | Si | Na | K
Error (ppm) | Measured | Calculated | Calculated |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 18.9984 | 78.9183 | 27.9769 | 22.9898 | 39.0983
22.1095 | 88.99 | 88.988 | 89.9953 | oxalic acid | 1.2 | 4.2 | C: 2; H: 2; O: 4
1.2137 | 179.0352 | 179.035 | 180.0423 |  |  |  | C: 9; H: 8; O: 4